Summary of 2009 CIE Division 2 Meeting

June 3, 2009, Budapest, Hungary

2009.6.5 Y. Ohno

Venue: Lorand Eötvös University, Budapest, Hungary

Attendance: 51 participants from 24 countries, including 22 country representatives.  D2 Management team: DD Ohno, AD Sauter, AD Vandermeersch, DS Sperling.  Also present were CIE President F. Hengstberger, VP-Technical J. Schanda, and VP-Publication T. Goodman.

Opening of the Meeting

DD, Y. Ohno, opened the meeting at 9:00 AM.  He expressed his great thanks to Dr. Schanda and Hungarian N/C for hosting the Division/TC meetings in Budapest.  We then had opening remarks from the CIE President.

Director’s Report (Y Ohno)

- Change of TC2-29 Chair (to G. Eppeldauer) was approved by D2 C/M ballot and BA meeting prior to the D2 meeting in Budapest.

- New D2/D4 joint TC, Photometry of lighting and light-signaling devices for road vehicles, Chair: Gösta Werner (SE), was approved by D2 C/M ballot and by BA  prior to the D2 meeting in Budapest.

<News from CIE BA>

- CIE ILV (DS 17.1) went through extensive editing by VPT, VPP, and a few other members of BA, and is now under BA ballot with deadline 23 July.

- CIE Book on Solid State Lighting (J Schanda, Executive Editor) will be developed, planned for distribution at CIE 2011.

- Several Guidelines are being developed by VPP and finalized at BA: including

Guidelines for Membership and Operation of CIE Technical Committees

Guidelines for Notation to be used in CIE Publications

Guidelines for Numbering of CIE Publications

Regular review of CIE Publications.

- CIE 2010 conference: Lighting Quality and Energy Efficiency, March 14-17, 2009, Vienna, Austria, is being organized by BA.  See website:

http://vienna2010.cie.co.at/Conference+Information

- CIE 2011 (27th Quadrennial Session of CIE), Sun City, South Africa, 6–18 July, 2011, is being organized by South African N/C and BA.

- CIE 2013 Midterm will be in France, to commemorate 100th Anniversary of CIE.

- CIE OFFICERS 2011-2015 (approved by General Assembly on May 26)

President: Ann Webb (GB), Past-President: Franz Hengstberger (ZA), VP Technical: Yoshi Ohno (US), VP Publications: Teresa Goodman (GB), VP Marketing: Ramani Venkataramani (IN), VP Standards: Axel Stockmar (DE), VP: Marc Fontoynont (FR), VP: Cui Yiping (CN), Secretary: Yoshiki Nakamura (JP), Treasurer: Johann Schleritzko (ZA)

Note that a new D2D for 2011-2015 will need to be selected.

Secretary’s Report (A Sperling)

- D2 now has 35 country members. New member is expected from Malaysia.

- The minutes of the 2008 D2 Meeting in Turin and Division 2 Activity Report – March 2009 were produced and distributed.

- D2 mailing list (reflector) currently has 225 persons.

- E-mail reflectors for TCs: CIE2-29, 40, 46, 47, 48, 49, 50, 59, 60, 62, 64.

- Collaboration Tool (web-based, for TC work) and Web-conference tools are available from CIE CB. All Division websites will be reformatted for CIE design.  Secretary will provide instructions for these new tools to TC chairs.

- DD thanked Secretary for his hard work on the 2008 minutes and scheduling and arrangements for many TC meetings in Budapest.

Editor’s Report (J Gardner, read by Secretary)

Progress with TC drafts since the Turin meeting is as follows:

2-43 Uncertainty: Comments on the main document and its annexes have been provided to the TC chair.

2-49 Photometry of flashing lights: Draft reformatted to CIE style sent to TC chair.

2-48 Spectral responsivity: Edit of final draft sent to TC chair.

2-17 Standard Reference Solar Spectra: No response to initial comments, despite follow-ups by CIE CB. Any feedback on the current status from any TC member will be appreciated.

Progress reports from TCs, Reporterships, and Liaisons

- The following 12 TCs met in Budapest on May 30, June 1, and June 2: 2-60 (Woolliams), 2-51 (Austin), 2-48 (Eppeldauer), 2-29 (Eppeldauer), 2-43 (Sauter), 2-63 (Zong), 2-64 (Heidel), 2-40 (Blattner), 2-59 (Krüger), 2-62 (Krueger for Steudtner), 2-47 (Sperling), 2-49 (Ohno).

- For the reports of TCs, reporterships, and liaisons, see the 2009 D2 meeting minutes forthcoming.

Dissolution of TCs and Reporterships

- TC2-52 Addendum to CIE 121 for the Photometry of Emergency Lighting Luminaires (Vandermeersch).  TC report has been published.

- Liaison, IDA (International Dark Sky Association) (J Rennison) is closed.

Changes in TCs and Reporterships

- The chair of TC2-50 has been changed to Richard Distl (Germany).

- The title and TR of TC2-50 are changed as:

Title: Measurement of the optical properties of LED assemblies

TR: To produce a technical report for the measurement of optical properties of LED assemblies.

New TCs proposals

(1)  Photometric measurements in the mesopic range

Chair: Teresa Goodman (UK)

TR: 1) To produce a Technical Report setting out measurement requirements and procedures for implementation of the CIE task-based system for mesopic photometry.

2) To consider the implications of the new system for mesopic photometry for existing Div.2 publications.

Decision: approved with no objections.

(2) Terminology of LEDs and LED assemblies

Chair: Janos Schanda

TR: Review LED and LED assemblies related terms and definitions in other international and regional organizations and prepare a recommendation for CIE.

Decision: approved with no objections.

New Reportership proposals

(1) Measurement methods for LED luminaires

Reporter: Jiangen Pan (Everfine, China)

TR:  Investigate the problems in measurements of electrical, thermal, and optical quantities of LED luminaires and possible need for a CIE technical report.

Decision: approved with one abstention (no objections).

(2) Measurement of integrated LED light sources

Reporter: Pei-Ting Chou (ITRI, Taiwan)

TR:  Investigate the problems in optical measurements of integrated LED light sources due to thermal effects, usage of the sources, and possible need for a CIE technical report.

Decision: approved with two abstentions (no objections).

(3) Photometric characterisation of large area flat sources used for lighting

Reporter: Armin Sperling (PTB, Germany)

TR: To investigate and identify criteria for the characterisation of source spatial uniformity / homogeneity, including measurement procedures and classification.

Decision: approved with no objections.

(4) Measurement of the Illumination uniformity for critical applications

Reporter: Meena Lysko (CSIR, South Africa)

TR: To investigate the influence of non-uniform illuminance of surfaces for optical measurements and the possible needs for a CIE technical report.

Decision: approved with no objections.

(5) Photobiological safety measurement of lighting products

Reporter: Tongsheng Mou (Zhejiang University, China)

TR: To investigate the need for a recommendation for general methods for photobiologival safety measurements of lighting products, including SSL products and sources with UV radiation, and to address the CIE S009 standard.

Decision: approved with one abstention (no objections).

Future D2 Meetings and Symposia

2010	We had invitations for (1) Bern, Switzerland by Peter Blattner (METAS) , (2) Rio de Janeiro, Brazil by Hans Peter Grieneisen (INMETRO), and (3) Vienna, Austria in conjunction with CIE 2010 conference in March 2010.  Bern Switzerland was selected by majority votes of attendees. Time will be June 2010.The D2 and TC meetings may be combined with a symposium, which will be discussed on email reflector shortly after this meeting.

2011	Sun City, South Africa (27th Quadrennial Session), 6–18 July, 2011.

2012	Open.  Invitation from INMETRO, Brazil.

2013	Open.  Possibility: CIE Midterm in France.

Adjournment

The meeting adjourned at 6:20 PM.